## LookupValTables
Version: Base Release |  |  | = IN THIS SHEET NOT AVANTIS
= IN BOTH
= DUPLICATION
= DATA WAS ORIGINALLY IN THIS WORKBOOK BUT NOT AVANTIS
= SEE COMMENT FOR ERROR OR NOTE
| Entity Classification | Abb. | Entity Category |  | Site Codes | Site Names | Entity Type | Entity Number is | Physical Asset is | Asset information is
| Actuator |  | Actuator |  | COL | WPC Collection System – all locations | Building Service | New | New | Added
| Agitator |  | Actuator,Electric |  | DOS | Divisional Operation Support | Computer Equipment | Existing - no change | Existing | No change
| Air Exchanger Unit | AEU | Actuator,Hydraulic |  | FCL | R.L. Clark Filtration Plant | Electrical Equipment | Existing - reassigned to THIS asset | Temporary | Updated
| Air Handling Unit |  | Actuator,Hydraulic,Cylinder |  | FHA | R.C. Harris Filtration Plant | Equipment Location | Existing - reassigned to ANOTHER asset | Relocated from elsewhere | Obsolete
| Air Instrument | AI | Actuator,Hydraulic,Vane Type |  | FHO | F.J. Horgan Filtration Plant | Instrumentation Equipment | To Be Released - freed for reassignment | Decommissioned
| Alarm | AL | Actuator,Manual |  | FIS | Island Filtration Plant | Mechanical Equipment | Existing - asset replace | Removed (no replacement)
| Analyzer |  | Actuator,Manual,Chain Wheel |  | THC | Highland Creek Treatment Plant | Personal Protective Equipment
| Back Flow Preventer | BFP | Actuator,Manual,Hand Wheel |  | THR | Humber Treatment Plant | Process
| Battery | B | Actuator,Manual,Lever |  | TAB | Ashbridges Bay Treatment Plant | Safety equipment
| Biofilter | BIO | Actuator,Pneumatic |  | TNT | North Toronto Treatment Plant | Station
| Blower |  | Actuator,Pneumatic,Cylinder |  | WTR | Water Supply – Main Transmission System – all locations | Sub Area | Physical Entity Is
| Boat |  | Actuator,Pneumatic,Vane Type |  | YCS | Central Services | Sub-Process | Removed (without replacement)
| Boiler |  | Agitator |  | YDA | Dee Avenue | Sub-sub-process | Replaced
| Building |  | Agitator,Air |  | YTF | Toronto Water Centre - Tiffield Road | Work Area | Added as new (to serve a new role)
| Burner |  | Air Handling Unit |  | YCS | Central Services |  | Existing asset in the same functional role (may be relocated)
| BUS bar greater than 750 volts | BUS | Air Handling Unit,Blow Thru |  | YDA | Dee Avenue |  | Moved to serve in a different functional role
| Camera |  | Air Handling Unit,Draw Thru |  | YEC | Etobicoke Civic Center | In Avantis, but removed from WMS-SS
| Capacitor | CAP | Analyzer |  | YHO | Metro Hall | Obsolete Entity
| Centrifuge |  | Analyzer,Ammonia |  | YKP | Kipling Yard | Division
| Chamber | Ch | Analyzer,Carbon Monoxide (CO) |  | YMA | Markham | Department
| Chemical Feeder |  | Analyzer,Chloramination |  |  |  | City
| Chlorine Monitoring Device,Por |  | Analyzer,Chlorine |  |  |  | Component
| Circuit Breaker | CB | Analyzer,Density |  |  |  | Facility
| Clarifier |  | Analyzer,Dissolved Oxygen (DO) |  |  |  | Trunk Infrastructure
| Classifier | CL | Analyzer,Fluoride |  |  |  | Section
| Collector Mechanism |  | Analyzer,Methane/LEL |  |  |  | Software
| Communications Equipment |  | Analyzer,ORP
| Compactor | CMP | Analyzer,Oxygen
| Compressor |  | Analyzer,Ozone
| Computer Hardware |  | Analyzer,Particle Counter
| Condensing Unit | CU | Analyzer,PH
| Control Loop |  | Analyzer,Residual Sulphite
| Control Panel |  | Analyzer,Sulphur Dioxide
| Control Panel,MCC |  | Analyzer,Suspended Solid
| Controller | Cntr | Analyzer,Total Hydrocarbon (THC)
| Conveyor |  | Analyzer,Turbidity
| Cooling Tower |  | Analyzer,Ultraviolet Disinfection
| Crane |  | Atmosphere Monitoring Device
| Cyclone |  | Atmosphere Monitoring Device,Portable
| Damper/Louver |  | Atmosphere Monitoring Device,Portable,Mercury
| Dehumidifier | De | Atmosphere Monitoring Device,Portable,Oxygen/Toxic/CH4/LEL/CL/SO2
| Desktop | Dktp | Atmosphere Monitoring Device,Stationary
| Door |  | Atmosphere Monitoring Device,Stationary,H2S/CO/CL/Toxic/SO2/NH3
| Drain | DRN | Atmosphere Monitoring Device,Stationary,Methane/LEL
| Drier |  | Battery
| Drive mechanism | DM | Battery,Dry Cell
| Duct |  | Battery,Wet Cell
| Earthmoving Equipment |  | Blower
| Elevator |  | Blower,Centrifugal
| Energy Wheel |  | Blower,Positive Displacement
| Engine |  | Boat
| Evaporator |  | Boiler
| Fan |  | Boiler,High Pressure
| Feeder, Chemical | FD | Boiler,Low Pressure
| Filter |  | Building Service
| Fire Equipment |  | Building Service,Domestic Plumbing
| Flame Arrester |  | Building Service,Electrical 110 - 220 V
| Gas Collection |  | Building Service,Fire Alarm
| Gas Monitoring |  | Building Service,Floor Drain
| Gate | Ga | Building Service,Lighting - Room
| Gearbox |  | Building Service,Recycling
| Generator |  | Building Service,Structure
| Grinder |  | Building Service,Structure,Admin
| Grounds |  | Bulldozer
| Heat Exchanger |  | Burner
| Heater | Htr | Burner,Waste Gas
| Humidifier | HU | Camera
| HVAC |  | Capacitor
| Hydraulic System |  | Centrifuge
| Incinerator |  | Centrifuge,Dewatering
| Indicator | IND | Centrifuge,Thickening
| Injector |  | Charger
| Ladder |  | Charger,Battery
| Leachate Monitoring |  | Charger,Remote Processor Unit
| Leveller |  | Chemical Feeder
| Lifting Device | LD | Chemical Feeder,Gas
| Lighting | Ltg | Chemical Feeder,Liquid
| Load Break Switch | LB | Chemical Feeder,Powder
| Maintenance Hole | MH | Circuit Breaker
| Man Lift |  | Clarifier
| Meter | METR | Clarifier,Circular
| Mixer |  | Clarifier,Rectangular
| Motor |  | Clarifier,Square
| Motor Control Center | MCC | Classifier
| Motor Control Centre |  | Classifier,Cyclone
| Network |  | Classifier,Incline Screw
| Network Switch |  | Classifier,Vortex
| Office Equipment |  | Collector
| Operator Interface Terminal | OIT | Collector,Bridge
| Outfall |  | Collector,Chain and Flight
| Peripheral | Perip | Collector,Circular
| Pipette |  | Collector,Helical Rotating
| Piping | PIP | Comminutor | Comminatory
| Plumbing |  | Compactor
| Pneumatic System |  | Compactor,Mobile
| Power Distribution Panel | PDP | Compactor,Stationary
| Power Washer |  | Compactor,Stationary,Paper | Compactor,Paper
| Pressure Indicator | PI | Compressor
| Programmable Logic Control | PLC | Compressor,Portable
| Protective Relay |  | Compressor,Portable,Skid Mount
| Pump |  | Compressor,Portable,Trailer Mount
| Pump Station | PS | Compressor,Screw | Compressor,Centrifugal
| Quencher |  | Compressor,Stationary | Compressor,Piston
| Recorder |  | Compressor,Stationary,Centrifugal | Compressor,Sliding Vane
| Remote Processor Unit | RPU | Compressor,Stationary,Piston
| Remote Transmission Unit | RTU | Compressor,Stationary,Screw
| Rigging Equipment |  | Compressor,Stationary,Sliding Vane
| Roof |  | Computer Equipment
| Router |  | Computer Equipment,CD Rom
| Rupture Disc |  | Computer Equipment,CPU
| Safety Equipment |  | Computer Equipment,Hard Drive
| Sampler |  | Computer Equipment,Hub
| Scissorlift |  | Computer Equipment,Laptop Docking Station
| Screen |  | Computer Equipment,Memory
| Scrubber | SB | Computer Equipment,Monitor
| Security System |  | Computer Equipment,Printer
| Sensor |  | Computer Equipment,Scanner
| Server | Serv | Computer Equipment,UPS
| Silencer |  | Container
| Software | sftw | Container,Roll-off
| Solid Waste Handling Equipment |  | Control Panel
| Starter |  | Control Panel,Electrical
| Storage | Stor | Control Panel,Fire
| Strainer |  | Control Panel,HVAC
| Structure |  | Control Panel,Instrumentation
| Substation | Sub Stn | Control Panel,Lighting
| Switch |  | Control Panel,MCC
| Switchgear |  | Control Panel,Operator
| System Process Control | SPC | Control Panel,Power Distribution Panel
| Tank |  | Control Panel,Security
| Test Equipment |  | Controller
| Tool |  | Controller,Flow
| Transfer Compactor |  | Controller,Level
| Transformer |  | Controller,PLC
| Transmitter | TRNS | Controller,Pressure
| Uninterruptible Power Supply | UPS | Controller,Temperature
| Ultraviolet Disinfection | UV | Controller,VFD
| Vacuum Cleaner | VC | Conveyor
| Valve |  | Conveyor,Belt
| Variable Frequency Drive | VFD | Conveyor,Screw
| Vehicle |  | Conveyor,Screw,Shaftless | Conveyor,Shaftless
| Venturi |  | Conveyor,Vibrating
| Vortex | Vortex | Crane
| Water Trailer |  | Crane,Overhead | Crane,Fixed
| Weigh Scale |  | Crane,Overhead,Fixed
| Well | WL | Crane,Overhead,Fixed,Paper
Crane,Travelling
Cyclone
Damper/Louver
Damper/Louver,Butterfly
|  |  | Damper/Louver,Butterfly,Double Blade | Damper/Louver,Double Blade
|  |  | Damper/Louver,Butterfly,Multi Blade | Damper/Louver,Multi Blade
|  |  | Damper/Louver,Butterfly,Single Blade | Damper/Louver,Single Blade
Damper/Louver,Guillotine
Damper/Louver,Variable Vane
Desktop
Desktop,Laptop
Desktop,Thin Client
Desktop,Workstation
Door
Door,Access
Door,Overhead
Drain
Drier
Drier,Dessicant
Drier,Refrigerant
Drive
Drive,Variable Speed Electrical
Drive,Variable Speed Mechanical
Dust Control
Dust Control,Odour Control
Electrical Power Line
Electrical Power Line,Electrical Bus
Electrical Power Line,Welding Receptable
Elevator
Elevator,Freight
Elevator,Personnel
Engine
Equipment/Component
Evaporator
Evaporator,Chlorine
Evaporator,Dual Media
Evaporator,SO2
Excavator
Excavator,Crawler
Excavator,Rubber Tire
Fan
Fan,Axial
Fan,Centrifugal
Filter
Filter,Membrane
Fire Prevention
Fire Prevention,Alarm
Fire Prevention,Cabinet
Fire Prevention,Door
Fire Prevention,Extinguisher
Fire Prevention,Extinguisher,CO2
Fire Prevention,Extinguisher,Dry Chemical
Fire Prevention,Extinguisher,Halogen
Fire Prevention,Heat Detector
Fire Prevention,Hose
Fire Prevention,Hydrant
Fire Prevention,Pump
Fire Prevention,Smoke Detector
Fire Prevention,Sprinkler
Fire Prevention,Sprinkler,Dry
Fire Prevention,Sprinkler,Wet
Flame Arrestor
Flocculator
Flocculator,Paddle Wheel
Flocculator,Turbine
Flocculator,Walking Beam
Floor maintenance
Floor maintenance,Cleaner
Floor maintenance,Cleaner,Steam
Floor maintenance,Polisher
Forklift
Forklift,Electric
Forklift,Gas/Propane Dual Fuel
Forklift,Propane
Gas Well
Gate
Gate,Sluice
Gate,Sluice,Act.
Gearbox
Generator
Generator,Chlorine
Generator,Electricity
Generator,Electricity,Portable
Generator,Electricity,Stationary
Generator,Ozone
Generator,Steam
Grader
Grinder
Grinder,Double-Roll
Grinder,Dual Shaft counterrotating
Groundskeeping
Groundskeeping,Lawnmower
Groundskeeping,Lawnmower,Ride on
Groundskeeping,Lawnmower,Walk behind
Groundskeeping,Lawnmower,Walk behind,Push
Groundskeeping,Lawnmower,Walk behind,Self propelled
H.V.A.C.
H.V.A.C.,Air Conditioner
H.V.A.C.,Chiller
H.V.A.C.,Cooling Tower
H.V.A.C.,Dehumidifier
H.V.A.C.,Heater
H.V.A.C.,Heater,Baseboard
H.V.A.C.,Heater,Convection
H.V.A.C.,Heater,Duct
H.V.A.C.,Heater,Unit
H.V.A.C.,Humidifier
Heat Exchanger
Heater
Heater,Process
Incinerator
Incinerator,Multi-Hearth
Indicator
Indicator,Ground Fault
Intake
Interceptor
Inverter
Irrigation System
Irrigation System,Automated
Irrigation System,Manual
Lagoon
Lifting Device
Lifting Device,Chain
Lifiting Device,Dock
Lifiting Device,Electric Pallet Truck
Lifting Device,Hoist
Lifting Device,Hoist,Electrical
Lifting Device,Hoist,Manual
Lifting Device,Scissor Lift
Lifting Device,Sling
Lifting Device,Spreader Beam
Lighting
Lighting,Aviation
Lighting,Emergency
|  |  | Lighting,Exit | Lighting,Emergency,Exit
Lighting,General
Lighting,Portable
Lighting,Portable,Trailer Mount
Lighting,Security
Load Break Switch
Loader
Loader,Backhoe
Loader,Crawler/Track
Loader,Rubber Tired
Loading Dock
Loading Dock,Hydraulic
Lubricator
Machine Tool
Machine Tool,Drill Press
Machine Tool,Jointer
Machine Tool,Lathe
Machine Tool,Milling Machine
Machine Tool,Planer
Machine Tool,Radial arm Drill
Machine Tool,Saw
Machine Tool,Table Saw
Meter
Meter,current
Meter,Density
Meter,Flow
Meter,Flow,Differential Pressure
Meter,Flow,Displacement
Meter,Flow,Doppler
Meter,Flow,Magmeter
Meter,Flow,Mass
Meter,Flow,Rotometer
Meter,Flow,Ultrasonic
Meter,Flow,Venturi
Meter,Insulation
Meter,Level
Meter,Level,Bubbler
Meter,Level,Capacitance
Meter,Level,Infrared
Meter,Level,Ultrasonic
Meter,Multi
Meter,Power Recording
Meter,Sludge Blanket
Meter,Suspended Solids
Meter,Temperature
Meter,volt
Mixer
Mixer,Propeller
Mixer,Submersible
Mixer,Venturi
Motor
Motor,AC
Motor,AC,Induction
Motor,AC,Synchronous
Motor,AC,Wound Rotor
Motor,DC
Motor,Hydraulic
Motor,Pneumatic
Motor Starter
Network
Network,ATM
Network,Archive
Network,Conference
Network,Data Format
Network,DSL
Network,Email
Network,FIBRE
Network,Frame Relay
Network,High Speed Network
Network,Hubs
Network,Internet
Network,ISDN
Network,Local Area Networks
Network,Mobile Network
Network,Modem
Network,NetWare
Network,Network Management
Network,Protocol
Network,Software
Network,Switch
Network,Telecommunication
Network,Videoconferencing
Network,Wide Area Networks
Odour Control
Outfall
Peripheral
Peripheral,Backup Tape System
Peripheral,Cable - Modem
Peripheral,Cable - Network
Peripheral,Cable - Printer
Peripheral,Cable - UPS
Peripheral,CD-Rewriter
Peripheral,Digital Cameras
Peripheral,DVD-ROM
Peripheral,Hard Disk Drive
Peripheral,Keyboard
Peripheral,Modem
Peripheral,Modem Card
Peripheral,Motherboard
Peripheral,Network Card
Peripheral,PC Card
Peripheral,Printer - Bar Code
Peripheral,Printer - Bar Code Accessories
Peripheral,Printer Accessories
Peripheral,RAM
Peripheral,Removable Storage
Peripheral,SCSI
Peripheral,Soundcard
Peripheral,UPS Accessories
Peripheral,Video Card
Piping
PPE
PPE,Eyewash Station
PPE,Harness
PPE,Insulated Glove
PPE,Insulated Mat
PPE,Lanyard
PPE,SCBA
Power Pack
Power Pack,Hydraulic
Pressure Sensor
Pressure Sensor,Gauge
Pressure Sensor,Gauge,Pressure
Public Address System
Pump
Pump,Centrifugal
Pump,Centrifugal,Multi-Stage
Pump,Centrifugal,Vacuum
Pump,Centrifugal,single-Stage
Pump,Diaphragm
Pump,Disc Type
Pump,Gear
Pump,Lobe
Pump,Lubricating
Pump,Metering
Pump,(Suspended) Non Positive Displacement
Pump,(Suspended) Non Positive Displacement,(Suspended) Disc Type
Pump,(Suspended) Non Positive Displacement,(Suspended) Screw
Pump,(Suspended) Non Positive Displacement,(Suspended) Submersible
Pump,Peristaltic
Pump,Piston
Pump,Portable
|  |  | Pump,(Suspended) Positive Displacement | Pump,PD
Pump,(Suspended) Positive Displacement,(Suspended) Diaphragm
Pump,(Suspended) Positive Displacement,(Suspended) Gear
Pump,(Suspended) Positive Displacement,(Suspended) Lobe
Pump,(Suspended) Positive Displacement,(Suspended) Metering
Pump,(Suspended) Positive Displacement,(Suspended) Peristaltic
Pump,(Suspended) Positive Displacement,(Suspended) Piston
Pump,(Suspended) Positive Displacement,(Suspended) Progressive Cavity
Pump,(Suspended) Positive Displacement,(Suspended) Rotary Vane
Pump,Progressive Cavity
Pump,Rotary Vane
Pump,Screw
Pump,Submersible
Radio
Recorder
Recorder,Paper
Recorder,Paperless
Rectifier
Regulator
Regulator,Flow
Regulator,Pressure
Relay
Relay,Protective
Roof Type
|  |  | Roof Type,Cold Process Build Up | Roof Type,Asphalt
|  |  | Roof Type,Inverted | Roof Type,Copper
Roof Type,Metal
Roof Type,Metal,Copper
Roof Type,Metal,Galvanized
Roof Type,Shingle
Roof Type,Single Ply Membrane
Roof Type,Single Ply Membrane,Asphalt
Roof Type,Slate
Roof Type,Standard Build Up
Roof Type,Tile
RPU
Safety
Safety,Defibrillator
Safety,Emergency Kit
Safety, Eye wash
Safety, First Aid Kit
Safety,MSDS Binder
Safety,Rupture Disc
Salter
Sampler
SCADA
Scraper
Screen
Screen,Bar
Screen,Trommel
Screen,Vibrating
Scrubber
Scrubber,Impingement
Security System
Security System, Audible Alarm
Security System,Camera
Security System,Central SCADA
Security System,Intercom
Sensor
Sensor,Flow
Sensor,Gas
Sensor,Gas,CL2
Sensor,Gas,NH3
Sensor,Gas,SO2
Sensor,Level
Sensor,Motion
|  |  | Sensor,Position | Sensor,Portable
Sensor,Pressure
Sensor,Security
Sensor,Temperature
Server
Server,Rack Mounted
Server,Tower
Signal Conditioner
Signal Conditioner,Frequency/ Current
Signal Conditioner,RTD/Current
Signal Conditioner,Thermocouple/Current
Silencer
Sludge Collector
Software
Software,Application
Software,Database
Software,Desktop Customization
Software,Desktop Publishing
Software,Device Driver
Software,Family Maintenance Renewal
Software,Graphic
Software,Internet
Software,Licensing
Software,Miscellaneous
Software,Multimedia
Software,Office Suite
Software,Operating System
Software,PICS
Software,Platform
Software,Programming Tool
Software,Screen Saver
Software,Security and Encryption
Software,Shareware
Software,Spreadsheet
Software,System Utilities
Software,Training
Software,Virtual Reality
Software,Web Directory
Spill Kit
Starter
Storage
Storage,Optical Storage
Storage,RAID 5
Storage,RAM
Storage,Removable Storage
Storage,SCSI
Strainer
Strainer,Self Cleaning Motorized
Sub-Station
Sweeper
Switch
Switch,Flow
Switch,Flow-High
Switch,Flow-Low
Switch,Hand
Switch,Level
Switch,Level-High
Switch,Level-High-High
Switch,Level-Low
Switch,Level-Low-Low
Switch,Motion
Switch,Position
Switch,Position-High
Switch,Position-Low
Switch,Pressure
Switch,Pressure-High
Switch,Pressure-Low
Switch,Speed-High
Switch,Speed-Low
Switch,Temperature
Switch,Temperature-High
Switch,Temperature-Low
Switch,Torque
Switch,Vibration-High
Switch,Vibration-Low
Switch,Weight-High
Switch,Weight-Low
Switchgear
Switchgear,Indoor
Switchgear,Outdoor
System
System,Ultraviolet Disinfection
Tank
Tank,Alum
Tank,Domestic Hot Water
Tank,Non-Pressurized
Tank,Reservoir
Tank,Water Elevated
Tractor
Tractor,Agricultural
Tractor,Agricultural,Attachment
Tractor,Agricultural,Attachment,Disc Plough
Tractor,Agricultural,Attachment,Flail
Tractor,Agricultural,Attachment,Postgole Digger
Tractor,Agricultural,Attachment,Roto-Tiller
Tractor,Agricultural,Attachment,Seeder
Tractor,Agricultural,Attachment,Sprayer
Tractor,Agricultural,Rubber Tire
Tractor,Agricultural,Rubber Track
Transducer
Transformer
Transformer,Control
Transformer,Ignition
Transformer,Lighting
Transformer,Power
Transformer,Power,Dry
Transformer,Power,Oil Filled
Transmitter
Transmitter,Density
Transmitter,Flow
Transmitter,Humidity
Transmitter,Level
Transmitter,Position
Transmitter,Power Indicating
Transmitter,Pressure
Transmitter,Pressure,Differential
Transmitter,Speed
Transmitter,Temperature
Transmitter,Vibration
Transmitter,Weight Indicating
Ultraviolet Disinfection
Ultraviolet Disinfection,Bank
Ultraviolet Disinfection,Chamber
Ultraviolet Disinfection,System
UPS
Uninterruptible Power Supply
Vacuum
Valve
Valve,3 Way
Valve,3 Way,Act.
Valve,Act.
Valve,Air Release
Valve,Anti-Siphon
Valve,Backflow Preventer
Valve,Backflow Preventer,Reduced Pressure
Valve,Balance
Valve,Ball
Valve,Ball,Act.
Valve,Butterfly
Valve,Butterfly,Act.
Valve,Check
Valve,Cone
Valve,Cone,Act.
Valve,Diaphragm
Valve,Diaphragm,Act.
Valve,Flow Control
Valve,Gate
Valve,Gate,Act.
Valve,Gate,Sluice
Valve,Gate,Sluice,Act.
Valve,Globe
Valve,Globe,Act.
Valve,Knife Gate
Valve,Knife Gate,Act.
|  |  | Valve,Needle | Valve,Needle,Actuated
Valve,Pet Cock
Valve,Pinch
Valve,Pinch,Act.
Valve,Plug
Valve,Plug,Act.
Valve,Pressure Control
Valve,Pressure Reducing
Valve,Pressure Reducing,Act.
Valve,Pressure Relief
Valve,Rotary
Valve,Safety
Valve,Safety,Act.
Valve,Sluice Gate
Valve,Sluice Gate,Act.
Valve,Solenoid
Valve,Solenoid,Act.
Valve,Temperature Control
|  |  | Valve,Thermal | Variable Speed Drive
|  |  | Variable Frequency Drive | Variable Speed Drive,Variable Frequency
Vehicle
Vehicle,Licensed
Vehicle,Unlicensed
Vessel
Vessel,Pressure
Vessel,Pressure,Surge
Weather Station
Weather Station,Anemometer
Weather Station,Barometer
Weather Station,Temperature
Weather Station,Wind Sock
Weigh Scale
Weigh Scale,Axle
Weigh Scale,Load Cell
Weigh Scale,Platform
Weigh Scale,Strain Gauge
Welding Equipment
Welding Equipment,Oxy-Acetylene Cutting Apparatus
Welding Equipment,Plasma Cutting Machine
Welding Equipment,Welding Machine
Welding Equipment,Welding Tools
Well
Well,Reservoir
Window Turner
Removed From Avantis (but was found in previous version of WMS SS)
Motorcar
Motored
Note on G91: William Alex: Should just be square, not squarex.
Note on G101: William Alex: Combined value 'Comminatory' originally from sheet to 'Comminutor' from Avantis. Confirming they are the same.
Note on G105: William Alex: Original format in this workbook.
Note on G110: William Alex: Original format in this workbook.
Note on G111: William Alex: Original format in this workbook.
Note on G112: William Alex: Original format in this workbook.
Note on G149: William Alex: Original format in this workbook.
Note on G152: William Alex: Original format in this workbook.
Note on G159: William Alex: Original format in this workbook.
Note on G160: William Alex: Original format in this workbook.
Note on G161: William Alex: Original format in this workbook.
Note on G177: William Alex: Highlighted blue in original location within the workbook.
Note on G289: William Alex: Original format in this workbook.
Note on G349: William Alex: Was originally TM instead of ATM (Avantis) in the workbook.
Note on G431: William Alex: Should we shorten /Non Positive Displacement to PD, NPD? What about the (Suspended)?
Note on G455: William Alex: Original format in this workbook.
Note on G456: William Alex: Original format in this workbook.

## Project Information
Project |  |  |  | Project Construction Phase
Design RFP Number | Brief Scope Description | Design Consultant Company Name | TW Site | Phase RFQ Number | Design RFP Number | Brief Scope Description | Consultant Organization Name | Contractor Organization Name | Projected Commissioning Date

## Assets
Asset Info | [6 empty] | ↑ hide / show | [8 empty] | ↑ hide / show | [7 empty] | ↑ hide / show | [20 empty] | ↑ hide / show | [19 empty] | ↑ hide / show | [19 empty] | ↑ hide / show | [8 empty] | ↑ hide / show | [11 empty] | ↑ hide / show | [17 empty] | ↑ hide / show | [11 empty] | ↑ hide / show | [19 empty] | ↑ hide / show
Mandatory Data Entry Requirements (press "+" button on the left margin to show)
| Entity Number | Original Equipment Number (if applicable) | Parent Number |  | Entity Name |  |  | Entity Site Name |  | Entity Type | Entity Classification | Entity Category | Entity Location Description | Drawing Number |  |  | OEM (Complete Business Name) | Supplier (Complete Business Name) |  | Purchase Order/ Contract # | Original Cost | Model/Style/Catalog Number | Serial Number |  | Flow Rate (L/sec,USgpm,IMgpm) | Head (M, FT)_1 | RPM | Suction Diameter (in, mm)_1 | Discharge Diameter (in, mm)_1 | Seal Type (Mech, Packing) | Number of Stages | Lubrication (oil, grease) | Impeller Diameter (in, mm)_1 | Impeller Sleeve Diameter_1 | Number of Impeller Vanes | Impeller Material | Rotation (CW, CCW) | Inboard Bearing Part # / Type | Outboard Bearing Part # / Type | Thrust Bearing Part # / Type | Additional Nameplate Info | Drive (Direct, Belt or Gear Box) | Coupling Type and Size | Belt Type and Size |  | Motor Function | Watts | Horse Power | RPM | AC or DC | Number of Phases | Cycles (Hz) | Frame Size | Frame Type (TEFC, DE,ODP) | Amperage (A, mA) | Voltage | Abbreviation | Insulation Class Code | Inboard Bearing Part # | Outboard Bearing Part # | Type (Ind, Synchr, Series, Shunt) | Mount, (Horizontal, Vertical) | Shaft (Single or Double Output) | Additional Nameplate Info |  | Process Application | Valve Type | Connection Type | Valve Size | Body Type | Pressure Rating | Seat Material | Packing Material/Size | Interior Coated | Number of Rotations | Operator Manufacture | Operator Type | Operator Model Number | Operator Size | Operating Torque | Clockwise to Open | Additional Operator Info. | Actuator Name Plate Info | Additional Valve Info. |  | Supply | Display | Input | Output | Range | Calibration Range | Activation Parameter | Pressure Rating |  | Type | Insulation Medium | Load Voltage | Frame Size Amp. | Modular Trip Unit? | Trip Unit Type | Trip Unit Sensor Rating In | Trip Unit OEM Name | Trip Unit Model | Separate CT/PT? | Separate Protection Relay? |  | Load Voltage | Load F.L.A. | Number of Phases | Starter - Configuration | Starter - Starting method | All Overload Element(s) Type(s) | Respective Overload Element(s) Location(s) | Starter Contactor - OEM and Model # | Starter Contactor - Max Amps. | Starter Contactor - Coil Voltage | Contact Insulation Medium (for MV) | Starter Control Transformer VA | Starter Control Fuse - OEM and Catalog No. | Main Fuse - OEM and Catalog No. | μ-Processor Relay - OEM and Model No. | Soft starter - OEM and Model No. | VFD controller - OEM and Model No. |  | Primary Voltage (Centre Tap) | Secondary Voltage | kVA Rating (@ max cooling) | Cooling Type | Winding Configuration | Oil Filled / Dry Type | Oil Type | Sudden pressure relay installed? | Cable Teminal Type | NGR Resistance | Online Gas Monitor Installed |  | Type (Draw-Thru or Blow-Thru) | CFM Rating | Static Pressure Rating | Drive (Direct, Belt or Gear Box) | Pulley Dimensions - Motor | Pulley Dimension - Fan | Belt Size and Quantity | Inboard Fan Bearing # | Outboard Fan Bearing # | Coupling Type and Size | Cooling Coil Description | Filter Type Description | Filter Dimensions and # | Evaporator Style | Evaporator Dimensions | Humidification Info. | Compressor Name Plate Info. | Damper Info. | Additional Information
| Full Tag Number as per TW Asset Tag Standard | Old / Asset number if applicable | Use the field to group equipment by relationship e.g. P-8 for all entities associated with this pump, tank, digester etc. |  | Describe the equipment type and important features, its function in relationship to the main equipment, then include a description of its physical location. Keep Entity Name up to maximum of 1 characters. |  |  | Pick from value list |  | Mechanical Equipment, Electrical Equipment Instrumentation Equipment, | Pick from value list | Pick from value list | Entity Location in the facility (area/building/floor/direction (N/E corner) etc. | Master P&ID | [6 empty] | in $CAD (converted by exchange rate) |  | In all cases applicable | [12 empty] | Volt or kV | [20 empty] | Volt or kV | [19 empty] | Volt or kV | [8 empty] | Power Supply | Displayed units |  |  |  |  | Value and unit when (pressure, temperature, level etc.) switch, limit activates | Housing/element pressure rating |  | Only medium voltage breakers need to be listed, exclude MCC molded case type
Examples of Expected Entries (press "+" button on the left margin to show)
| Entity Number | Original Equipment Number (if applicable) | Parent Number |  | Entity Name |  |  | Entity Site Name |  | Entity Type | Entity Classification | Entity Category | Entity Location Description | Drawing Number |  |  | OEM (Complete Business Name) | Supplier (Complete Business Name) | Supplier Phone Number | Purchase Order/ Contract # | Original Cost | Model/Style/Catalog Number | Serial Number |  | Flow Rate (L/sec,USgpm,IMgpm) | Head (M, FT)_1 | RPM | Suction Diameter (in, mm)_1 | Discharge Diameter (in, mm)_1 | Seal Type (Mech, Packing) | Number of Stages | Lubrication (oil, grease) | Impeller Diameter (in, mm)_1 | Impeller Sleeve Diameter_1 | Number of Impeller Vanes | Impeller Material | Rotation (CW, CCW) | Inboard Bearing Part # / Type | Outboard Bearing Part # / Type | Thrust Bearing Part # / Type | Additional Nameplate Info | Drive (Direct, Belt or Gear Box) | Coupling Type and Size | Belt Type and Size |  | Motor Function | Watts | Horse Power | RPM | AC or DC | Number of Phases | Cycles (Hz) | Frame Size | Frame Type (TEFC, DE,ODP) | Amperage (A, mA) | Voltage | Abbreviation | Insulation Class Code | Inboard Bearing Part # | Outboard Bearing Part # | Type (Ind, Synchr, Series, Shunt) | Mount, (Horizontal, Vertical) | Shaft (Single or Double Output) | Additional Nameplate Info |  | Process Application | Valve Type | Connection Type | Valve Size | Body Type | Pressure Rating | Seat Material | Packing Material/Size | Interior Coated | Number of Rotations | Operator Manufacture | Operator Type | Operator Model Number | Operator Size | Operating Torque | Clockwise to Open | Additional Operator Info. | Actuator Name Plate Info | Additional Valve Info. |  | Supply | Display | Input | Output | Range | Calibration Range | Activation Parameter | Pressure Rating |  | Type | Insulation Medium | Load Voltage | Frame Size Amp. | Modular Trip Unit? | Trip Unit Type | Trip Unit Sensor Rating In | Trip Unit OEM Name | Trip Unit Model | Separate CT/PT? | Separate Protection Relay? |  | Load Voltage | Load F.L.A. | Number of Phases | Starter - Configuration | Starter - Starting method | All Overload Element(s) Type(s) | Respective Overload Element(s) Location(s) | Starter Contactor - OEM and Model # | Starter Contactor - Max Amps. | Starter Contactor - Coil Voltage | Contact Insulation Medium (for MV) | Starter Control Transformer VA | Starter Control Fuse - OEM and Catalog No. | Main Fuse - OEM and Catalog No. | μ-Processor Relay - OEM and Model No. | Soft starter - OEM and Model No. | VFD controller - OEM and Model No. |  | Primary Voltage (Centre Tap) | Secondary Voltage | kVA Rating (@ max cooling) | Cooling Type | Winding Configuration | Oil Filled / Dry Type | Oil Type | Sudden pressure relay installed? | Cable Teminal Type | NGR Resistance | Online Gas Monitor Installed |  | Type (Draw-Thru or Blow-Thru) | CFM Rating | Static Pressure Rating | Drive (Direct, Belt or Gear Box) | Pulley Dimensions - Motor | Pulley Dimension - Fan | Belt Size and Quantity | Inboard Fan Bearing # | Outboard Fan Bearing # | Coupling Type and Size | Cooling Coil Description | Filter Type Description | Filter Dimensions and # | Evaporator Style | Evaporator Dimensions | Humidification Info. | Compressor Name Plate Info. | Damper Info. | Additional Information
| FHO-TRW-V-83 | FHO V BV 81 | FHO-TRW-P-8 |  | Valve, Butterfly, Actuated, Pump P-8 Discharge, TRW Pump Room Basement |  |  | FHO |  | Mechanical Equipment | Valve | Valve,Butterfly,Actuated | S5 Level, TRW Pump Room Basement | 7F-P&ID-I-182 |  |  | Siemens Milltronics | Measuremax | 416-888-8888 | MCP12-5WS | 12 | 7ML5331AA2A-Z, 7ML1115BA4 | PBD/DN13159 |  | 62.5 LPH | 56 m | 12 | 12 | 12 | Magnetic | 1 | N/A | N/A | N/A | N/A | N/A | CW | Sleeve 3A | Sleeve 3A | Could not find |  | Direct | Magnetic | N/A |  | Actuate valve | 112 | 1.5 | 12 | AC | 3 | 6 | 48 | TEFC | 1.5 | 575 | V | NEMA F | 64433 | S1K | Induction | Horizontal | Single |  |  | Water | Butterfly | Flange | 36" | Flange | 15 PSI | Buna-N | Buna-N | No | 1/4 (9 deg) | Actuator: EIM | TYPE: EB1 | Actuator: EIM, TYPE: EB1, OPERATOR: EIM, SIZE: MG-5 EB-1, SER: 1984-241 | SIZE: MG-5 | 48ft-lbs | Yes | No | Model:ND-15-BEN1, 3X575 V AC, Robbins Myers, 1.5 hp 6 Hz | No data on record |  | 12 VAC | m | Phosphoric Acid Tank Level | 4-2 ma | .3-15m | ~4.7 m | N/A | N/A |  | eg. metal enclosed, metal clad, gas insulated etc. | eg. air, SF6, oil, vacuum, etc. | eg, 6V, 416V, etc. | eg. 25 A | Yes/No | eg. LI, LS, LS, LSI, LIG, LSG, LSIG etc. | eg. 2 A | Eaton | Digitrip RMS 51 | Yes/No | Yes/No |  | eg. 6V | eg. 15 | eg. 3 | eg. FNR, FVNR, RVSS, multispeed etc. | eg. full voltage, wye-delta, soft starter, reactor starter, VFD, etc. | eg. Fuse, bimetallic, electronic relay, etc. | eg. Inline with main power, integrated with the contactor package, panel mounted thermal relay, panel mounted electronic relay, μ-processor motor management relay, motor mounted RTD, | eg. ABB, M165 | eg. 17 A | eg. 12V | eg. Air, vaccum, etc | eg. 2 VA | eg. Bussman FNA 5 | eg. Littlefuse 72R1C5.5 | eg. GE, Multilin 469 | eg. Danfoss, MCD 5 | eg. Danfoss, AQUA Drive FC 22 |  | 138 V | 416 V | eg,1, | eg. ONAN, OFAF, LNAN etc. | eg. delta-wye wye-wye, zig-zag etc. | eg. oil filled | eg. silicon, FR3, etc. | Yes / No | eg, HV - bushings, LV - enclosed and insulated busbars, etc. | 48 Ohm | Yes / No |  | Draw-Thru | 14 | .4 w.c. | Direct | N/A | N/A | N/A | Not given | Not given | Not Given | Copper tube in tube | Pleated | 25x2x2 in | finned tube | N/A | N/A | Scroll type compressur | N/A
[17 empty] | Techmark Corporation | Techmark Corporation | 416-888-8888 | MCP12-5WS | 1 | K4-1 | [23 empty] | Operate gear pump | 746 | 1 | 176 | AC | 3 | 6 | 56C | TEFC | 1.5 | 6 | V | F | 64433 | S1K | Induction | Horizontal | Single |  |  | Phosphoric Acid | Stainless Steel Ball Valve | 15# Flanged | 5mm | A 351 Gr. CF8M | 1,35kPa (15psi) | PTFE | Graphite | N/A - 316 Stainless Steel Material | 1/4-Turn Operator | N/A | Handle | N/A | N/A | N/A | Yes | No | N/A | No |  | 12V | LPH | Water flow | 4-2 mA | - 18 LPH | - 3LPH | N/A | 58 PSI
[17 empty] | Trueline Valve Corporation | Syntec Process Equipment | 416-888-8888 | MCP12-5WS 1326-3268 | 5 | MANUAL STAINLESS STEEL BALL VALVE, Trueline TL715IIT-2" | [43 empty] | Phosphoric Acid | Stainless Steel Ball Valve c/w Electric Actuator | 15# Flanged | 5mm | A 351 Gr. CF8M | 1,35kPa (15psi) | PTFE | Graphite | N/A - 316 Stainless Steel Material | 1/4-Turn Operator | Chemline Plastics Limited | Actuator | AA Series Electric Actuator | 29mm W x 233mm L x 23mm H | 4 in-lb | No | No | 115VAC; .5A Draw; 1% Duty Cycle | No |  | 12 VAC | pH | TW Sampler pH Analysis | 4-2 mA / Dry Contact | ~14 | 6~1 pH | N/A | N/A
Asset ID and Description | [6 empty] | General | [8 empty] | Procurement | [7 empty] | Pump | [20 empty] | Motor | [19 empty] | Valves | [19 empty] | Instrumentation | [8 empty] | Breaker | [11 empty] | Starter | [17 empty] | Transformer | [11 empty] | HVAC
Consultant | Consultant | Consultant | Consultant |  | Consultant | Consultant | Consultant | Consultant | Consultant | Consultant | Consultant | Consultant | Consultant | Consultant | Automatically Populated |  | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Consultant | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Consultant | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Consultant | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Consultant | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Consultant | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Consultant | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Consultant | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Consultant | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor | Contractor
Change to Physical Asset | Final Entity Number | Original Entity Number in WMS | Final Parent Entity Number | Major Process Start-Up | Entity Name | Comment Number(s) | Blank by intention | Entity Site Name | Reviewer Discipline | Entity Type | Entity Classification | Entity Category | Entity Location Description | Drawing Number | Number of PM Activities Specified | Blank by intention 2 | OEM Business Name | Supplier (Complete Business Name) | Supplier Phone Number | Purchase Order/ Contract # | Original Cost | Model/Style/Catalog Number | Serial Number | Pump? | Flow Rate (L/sec,USgpm,IMgpm) | Head (M, FT)_1 | RPM | Suction Diameter (in, mm)_1 | Discharge Diameter (in, mm)_1 | Seal Type (Mech, Packing) | Number of Stages | Lubrication (oil, grease) | Impeller Diameter (in, mm)_1 | Impeller Sleeve Diameter_1 | Number of Impeller Vanes | Impeller Material | Rotation (CW, CCW) | Inboard Bearing Part # / Type | Outboard Bearing Part # / Type | Thrust Bearing Part # / Type | Additional Nameplate Info | Drive (Direct, Belt or Gear Box) | Coupling Type and Size | Belt Type and Size | Motor? | Motor Function | Watts | Horse Power | RPM3 | AC or DC | Number of Phases | Cycles (Hz) | Frame Size | Frame Type (TEFC, DE,ODP) | Amperage (A, mA) | Voltage | Abbreviation | Insulation Class Code | Inboard Bearing Part # | Outboard Bearing Part # | Type (Ind, Synchr, Series, Shunt) | Mount, (Horizontal, Vertical) | Shaft (Single or Double Output) | Additional Nameplate Info4 | Valve? | Process Application | Valve Type | Connection Type | Valve Size | Body Type | Pressure Rating | Seat Material | Packing Material/Size | Interior Coated | Number of Rotations | Operator Manufacture | Operator Type | Operator Model Number | Operator Size | Operating Torque | Clockwise to Open | Additional Operator Info. | Actuator Name Plate Info | Additional Valve Info. | Instrumentation? | Supply | Display | Input | Output | Range | Calibration Range | Activation Parameter | Pressure Rating2 | Breaker? | Type | Insulation Medium | Load Voltage | Frame Size Amp. | Modular Trip Unit? | Trip Unit Type | Trip Unit Sensor Rating In | Trip Unit OEM Name | Trip Unit Model | Separate CT/PT? | Separate Protection Relay? | Starter? | Load Voltage3 | Load F.L.A. | Number of Phases4 | Starter - Configuration | Starter - Starting method | All Overload Element(s) Type(s) | Respective Overload Element(s) Location(s) | Starter Contactor - OEM and Model # | Starter Contactor - Max Amps. | Starter Contactor - Coil Voltage | Contact Insulation Medium (for MV) | Starter Control Transformer VA | Starter Control Fuse - OEM and Catalog No. | Main Fuse - OEM and Catalog No. | μ-Processor Relay - OEM and Model No. | Soft starter - OEM and Model No. | Contractor | Transformer? | Primary Voltage (Centre Tap) | Secondary Voltage | kVA Rating (@ max cooling) | Cooling Type | Winding Configuration | Oil Filled / Dry Type | Oil Type | Sudden pressure relay installed? | Cable Teminal Type | NGR Resistance | Online Gas Monitor Installed | HVAC? | Type (Draw-Thru or Blow-Thru) | CFM Rating | Static Pressure Rating | Drive (Direct, Belt or Gear Box)2 | Pulley Dimensions - Motor | Pulley Dimension - Fan | Belt Size and Quantity | Inboard Fan Bearing # | Outboard Fan Bearing # | Coupling Type and Size3 | Cooling Coil Description | Filter Type Description | Filter Dimensions and # | Evaporator Style | Evaporator Dimensions | Humidification Info. | Compressor Name Plate Info. | Damper Info. | Additional Information
Log the comment text in the Numbered Comments sheet

## OEM Maintenance
Recommended Maintenance Based on O&M Manual Recommendations
Mandatory Data Entry Requirements (press "+" button on the left margin to show)
Entity Number | Entity Maintenance Activity # | Maintenance Activity Name | Detailed Maintenace Activity Procedure (step-by-step) | Activity Trade Requirements | Estimated Time (hr) | Activity Frequency
Full Tag Number as per TW Equipment Tag Standard | Enter "1" for the first Activity, "2" for the second activity... found in O&M manual of the entity |  | Precise instructions for staff to follow | number of people and trade | time required to perform the activity | monthly, weekly, every 2000 hrs(calendar, time based, condition based etc.).
Examples of Expected Entries (press "+" button on the left margin to show)
Entity Number | Entity Maintenance Activity # | Maintenance Activity Name | Detailed Maintenace Activity Procedure (step-by-step) | Activity Trade Requirements | Estimated Time (hr) | Activity Frequency
FCL-CCS-STR-0101 | 1 | Perform strainer blowdown | 1. Clean the screen of debris by opening the blow-down valve. Valve is to stay open until all debris has been blown out from the screen. 2. Close the valve and resume normal operation. | 1 Millwright | 0.1 | Every 6 months
FCL-CCS-STR-0101 | 2 | Replace strainer basket | 1.Slowly close the pipeline valves upstream and downstream from the strainer. Make sure these valves are tightly closed. Relieve fluid pressure in the strainer by first opening the drain, then vent if provided. 2. The strainer must be drained and internal pressure relived prior to replacing. 3. Place the new screen squarely on the seat in the cover (blow-off). Replace cover (blow-off) and tighten the fasteners uniformly. 4. Open the blow-off valve to expel air from the strainer and slowly allow fluid to enter the strainer. CAUTION: Start system GRADUALLY. This eliminates sudden shock to the strainer and other equipment in the line. This is EXTREMELY important for steam service. Close vent when air is expelled and fluid begins to flow. | 1 Millwright | 1 | Every 3 years
FIS-ACC-HTR-0280 | 1 | Vacuum dust from Heater | 1. Remove the front panel and use a vacuum cleaner to remove the dust accumulation inside the heater. 2. Cleaning should be done while the heater is disconnected from the supply circuit. | 1 Electrician | 0.25 | Once a year
Project Data Table
Provided by: Consultant | Provided by: Contractor | Provided by: Contractor | Provided by: Contractor | Provided by: Contractor | Provided by: Contractor | Provided by: Contractor
Entity Numbers | Entity Maintenance Activity # | Maintenance Activity Name | Detailed Maintenace Activity Procedure | Activity Trades Requirements | Estimated Time (hr) | Activity Frequency
Most entities are expected to have multiple activities
Each step must be entered in a numbered line.
Presss Alt+Enter to start a new line in the cell.
See example rows above for more detail.
e.g. electrician, millwright, etc.
e.g. daily, every 6 month, etc.
Contractor: you may combine the entity numbers for multiple assets into the same cell, if this set of assets required the same maintenance. Use comma "," to separte them for example.
Enter a number, i.e. 1, 2, 3, ... for assets associated with more than one maintenace activity. For these assets, you must repeat the entry in the Entity Numbers column. For e.g.
NOTE: DO NOT ENTER MORE THAN ONE ACTIVITY PER ROW

## Comment Log
Comment Log
Comment Number | Commenter | Comment for | Date | Comment Text

## HiddenSht_OEM-PQ (hidden)
Toronto Water Worksheet - Unfurled OEM Maintenance Specification
Note:This Sheet is Filled Out by Toronto Water
The colour in this row indicated the source of information of the column. Orange indicates the information comes from the Assets worksheet, blue indicates the information comes from the OEM Maintenance sheet
Assets Sheet Entity | OEM Sheet Entity | Entity Name | Major Process Start-Up | Entity Classification | Entity Category | Entity Maintenance Activity # | Maintenance Activity Name | Detailed Maintenace Activity Procedure | Activity Trades Requirements | Estimated Time (hr) | Activity Frequency
| asset 1 |  |  | Network | Network,Telecommunication
| asset 2 | Termination Panel,South Effluent Pump Station,Sampling Room,Ground Floor | phase A | Network | Control Panel
| asset 3 | Termination Panel,South Effluent Pump Station,Electrical Room,Ground Floor | phase A | Network | Control Panel
| asset 4 | SCADA Workstation,Boiler Building | phase 3 | Office Equipment | Desktop,Workstation
| asset 6 | Remote Processor Unit,Chlorination,Plant Air,HVAC & Misc.,Disinfection Bldg | phase 3 | Remote Processor Unit | Control Panel
| asset 7 | SCADA Workstation,Disinfection Bldg | phase 3 | Office Equipment | Desktop,Workstation
| asset 22 | Multilink Cabinet,Disinfection Bldg | phase 3 | Control Panel | Control Panel
THC-DIS-V-0631
THC-DIS-V-0632
THC-DIS-V-0633
THC-DIS-V-0634